Atomic Force Microscopy for

Metallurgy

Metallurgy is important in industry for developing and producing products from metals, alloys, composites,

and other metal related materials. Typically product development and quality control processes

utilize microstructure analysis for characterization of metals. The microstructure of metals can

vary depending on heat treatment, composition, fatigue or stress distribution. For failure analysis it

is critical to examine fracture surfaces.

Physical metallurgy research focuses on the changes in microstructure of metals under various conditions.

For example, the thermodynamics of defect formation, grain boundaries migration and precipitation

are understood by studying morphology evolution. Also, morphological studies are helpful

in understanding stress-strain distribution, dislocation flow, and crack propagation.

The most commonly used tools for studying

metals in both industry and research are the optical

microscope, the scanning electron microscope

and the transmission electron microscope.

The Atomic Force Microscope is emerging as an

important tool for metallurgy. The advantages of

the AFM for metallurgical studies are substantial.

The AFM gives:

Extremely high magnification: Magnifications

of up to 1,000,000X are easily obtained with

an AFM.

Three dimensional surface topograms: Unlike

the other types of microscopes, the AFM gives

magnification in the X-Y and Z axis. This is

very helpful in understanding the depth of

surface features.

Easy to use: In comparison to other microscopes

with extreme magnification, the AFM

is relatively easy to use. With the advanced

technology used in AFM systems, it is possible

to be proficient in measuring images in less

than one day.

Simplified Sample Preparation: Little or no

sample preparation is require before metal

samples are examined with an AFM.

Optical Microscope: AFM instruments include

a video optical microscope for rapidly visualizing

the surface of metals

The following are two of the many applications

for an AFM in metallurgical studies..

APPLICATION NOTE

Nano-R™ optical microscope image of NiAl, 23

at% Al, dendrite structure. Field of view 1000 µm

x 750 µm.

Figure 1

Dendrite Structure

Dendrite (from Greek dendron - a tree) - a crystal

that has a treelike branching pattern most

evident in cast metals slowly cooled through the

solidification range. Often it is possible to visualize

dendrite structure in an optical microscope.

For example, optical microscope images of dendrites

are shown in figure 1 and 4. However, the

resolution of the video optical microscope is limited

to 1 micron. Other microscope methods

such as the SEM do not facilitate the visualization

of dendrite structure as shown in figure 2.

With the AFM it is very easy to visualize the

structure of dendrites with the resolution far exceeding

1 micron as illustrated in figure 3 and 5.

Such studies can provide useful information for

better understanding interface instability during

solidification process.

1

Atomic Force Microscopy for Metallurgy

SEM image of NiAl, 23 at% Al dendrite

structure. Field of view is 5 mm x 4.5 mm.

Dendrite structure is not apparent for this

sample in SEM. Sample and picture are

courtesy of Dr.S.V.Prikhodko (UCLA) .

Nano-R™ AFM images of NiAl, 23 at% Al dendrite

structure. Left-hand image 97 µm x 97 µm, right-hand

image 70 µm x 70 µm.

Figure 2

Figure 3

Nano-R™ AFM images of NiAl, 26 at% Al dendrite structure.

Left-hand image 95 µm x 95 µm, right-hand image

23 µm x 23 µm.

Figure 5

Precipitation Study

2

Pacific Nanotechnology, Inc. ? 3350 Scott Blvd #29 ? Santa Clara, CA 95054-3105 ? 1-800-246-3704

Figure 4

Nano-R™ optical microscope image of NiAl,

26 at% Al, dendrite structure. Field of view

1000 µm x 750 µm.

Precipitate hardening (aging) is hardening

caused by the precipitation of a constituent from

a supersaturated solid solution. Aging is a microstructure

change, usually by precipitation, that

occurs in some alloys after a preliminary heat

treatment or cold working operation. Precipitate

hardening alloys (superalloys) have excellent

mechanical properties at elevated temperatures

and are broadly used for industrial applications.

Observation of the precipitate's size of less than

1 micron is not possible in an optical microscope

due to a limitation in resolution as demonstrated

in figure 6. SEM visualization is adequate as

shown in figure 7, although it provides neither a

3D image nor precise line profile measurements

for the features of interest. TEM is the most

commonly used technique for precipitation study

as shown in figure 10; however it requires complex

sample preparation as well as help of a

highly skilled operator. AFM use and sample

preparation are very simple. AFM images have

great lateral and vertical resolution as shown in

figures 8 and 11. Figure 9 illustrates that the

AFM is able to perform precise line profile measurements

along X, Y, Z as well as any arbitrary

direction in the XY plane. Studies and measurements

can help in understanding the fundamental

problems such as the kinetics of coarsening

and the influence of external and internal

stresses on the equilibrium shape of inclusions.

Atomic Force Microscopy for Metallurgy 3

Pacific Nanotechnology, Inc. ? 3350 Scott Blvd #29 ? Santa Clara, CA 95054-3105 ? 1-800-246-3704

Figure 6

Nano-R™ optical microscope image of NiAl with

Ni3Al precipitates. Field of view 600 µm x 450

µm. Ni3Al precipitates can not be resolved by

an optical microscope for this sample.

Figure 7

SEM image of Ni3Al precipitates. Field of view is

20 µm x 18 µm. Inclusions appear white on the

photograph. Sample and picture are courtesy of

Dr. S.V. Prikhodko (UCLA).

Figure 8

Nano-R™ AFM images of Ni3Al precipitates. Microstructure

appears to have much finer features compared to SEM

image. AFM image of a single particle shown on the righthand

side. Left: 15.3 µm x 15.3 µm, center: 2.91 µm x

2.91 µm, right: 0.73 µm x 0.73 µm.

Figure 9

Height measurements of the line profile of a single Ni3Al

inclusion. The height is 47.9 nm.

Figure 10

Dark field TEM image of Ni3Ga precipitates in

NiGa, 25.7 at% Ga. Contrast inverted, inclusions

appear white. Plane of view is 1.5 µm x 1 µm.

Sample is oriented in a way that plane of view is

(001) plane.

Nano-R™ AFM images of Ni3Ga precipitates in NiGa, 25.7

at% Ga. Inclusions etched out and appear dark. Sample

is oriented in a way that plane of view is (001) plane.

AFM image of a single particle shown on the right-hand

side. Discrepancy in volume fraction compared to TEM

could be due to etching process as well as foil thickness.

Left: 21.1 µm x 21.1 µm, center: 5.8 µm x 5.8 µm, right:

2.2 µm x 2.2 µm.

Figure 11